## Slide 1: 風險管理與損失控制介紹
聯華電子風險管理暨安環部
吳博文
03-5782258 Ext. 31533
Po_Wen_Wu@umc.com

## Slide 2: 風險管理模式與 損失控制方法介紹

## Slide 3: 風險管理
風險管理是通過對風險的識別、評估衡量和控制，以最少的成本將風險導致的各種不利後果減少到最低限度的科學管理或藝術
Risk
Identify
Risk Evaluation
/ Analysis
Risk
Control
Risk Management

## Slide 4: Risk Control/ Loss Control
Risk Management
1. Risk Avoidance
2. Risk Decentralization
3. Risk Transfer
4. Loss Control
Risk
Identify
Risk Evaluation
/ Analysis
Risk
Control

## Slide 5: 1.風險迴避(Risk Avoidance)
風險迴避能夠在風險事件發生之前完全消除某一種特定風險可能造成的種種損失，而其他任何方式只能減少損失發生的概率或損失的嚴重程度，或損失發生後及時的予以補償
優缺點: 將損失發生的機率保持在零的水平，簡便易行、經濟安全

## Slide 6: 2.風險轉移(Risk Transfer)
有意識的將損失或損失有關的財務後果轉嫁給他人的方式(原因與手段各異)
優缺點:
  1.轉移會引起風險及損失的活動，將可能遭受損失的財產及有關活動轉移出去
  2.將風險及損失有關的財務後果轉嫁出去而不轉移財產本身(保險)
  3.將風險及損失有關的財務後果轉嫁出去而不轉移財產本身(非保險-合約與談判)

## Slide 7: 風險分散(Risk Decentralization)
以風險組合(高風險與低風險)來分散風險
優缺點:風險分散但群聚效應與產品生產移轉能力較差

## Slide 8: 損失控制(Loss Control)
損失發生前全面的消除損失發生的根源，並盡力減少損失發生的機率，事故發生後減少損失的嚴重度
損失控制是指對風險因素進行充份的辨識和分析，事前對風險進行預測與預控
優缺點:
  不可控制的風險如宏觀政策環境、市場需求變化導致的風險—適用風險迴避、風險轉移與風險分散等風險管理模式
  可控制風險可透過計畫、組織、協調加以預防與控制
  最積極主動的風險處置工具

## Slide 9: Loss Prevention/ Loss Control
Loss Prevention failed Loss Control
當損害防止(Loss Prevention)失效時，損失控制的功能應當能使損失降低幅度並且防止再次的失效與損失的擴大。
  例如：防火區隔、防火材料、排水溝渠、滅火系統、緊急遮斷系統（Emergency Shut Down Systems）、緊急應變小組及現場操作人員反應皆可用來控制及減少損失。

## Slide 10: Enterprise Risk Management
Financial Risks
Hazard Risks
Strategic Risks
Operational Risks
Enterprise Risks

## Slide 11: Strategic Risk
  Changes in customer priorities
  Threats from traditional and emerging competitors
  Shifts in relative brand power
  Changes in access to financial capital
  Challenges in access to human capital
  New uses of technology
  Eevolving distribution channels & networks
  Global economic & geo-political movements
  Legal & regulatory changes

## Slide 12: Financial Risk
  Interest rates
  Exchange rates
  Commodity, equity and other prices
  Credit risk and liquidity/funding risks

## Slide 13: Operational Risk
  Key people and succession planning
  Board composition and governance
  Human resources and employment
  Information technology systems
  Accounting, audit and control systems
  Compliance with regulations
  Product design failure
  Production and supply chain productivity and interruptions.

## Slide 14: Hazard Risk
  Natural hazards
  Physical damage to tangible assets
  Employee actions
  Events resulting in legal liability
  Product recall and integrity
  Business interruption

## Slide 15: Risk Factors
2
4
1
2
7
6
4
2
1
1
1
1
1
7
7
6
3
2
1
0
5
1
0
1
5
2
0
2
5
% of Top 100
Customer
Demand
Shortfall
Competitive
Pressure
M&A
Integration
Problems
Mis-
aligned
Products
Customer
Pricing
Pressure
Loss of
Key
Customer
Regulatory
Problems
R&D
Delays
Supplier
Problems
Cost
Overruns
Accounting
Irregularities
Mgmt
Ineffec-
tiveness
Supply
Chain
Issues
FX
Econ.
Issues
Com-
modity
Prices
Interest
Rate
Fluct.
Strategic
Operational
Financial
58%
31%
6%
  What triggered the 100 companies’ share price dropped by more than 25% within one month?
Source: Marsh Reports

## Slide 16: Basic Terminology
LE- Loss Expectancy
  a possible loss which assumes low combustible loading or lack of continuity of combustibles
PML- Possible Maximum Loss
  the maximum loss that is likely to arise on the occurrence of a single event considered to be within the realms of probability, remote coincidences and possible but unlikely catastrophe events being ignored
MFL- Maximum Foreseeable Loss
  the loss potential for a facility from a single incident assuming all private protection impaired, and reliance on fire department and public protection response only

## Slide 17: 國際基本法規 (半導體業)
FM 7-7
  Factory Mutual (FM) Data Sheet 7-7
  “Semiconductor Fabrication Facilities”
NFPA 318
  National Fire Protection Association (NFPA) 318
  “Standard for the Protection of Cleanrooms”
SEMI S2
  Semiconductor Equipment and Materials International
  “Environmental, Health, and Safety Guideline for Semiconductor Manufacturing Equipment”
Some Reference to ….
  Uniform Building Code (UBC)
  Uniform Fire Code (UFC)

## Slide 18: 重要資訊網站
www.fmglobal.com
www.nfpa.org/Home/index.asp
www.semi.org
www.irmi.com/expert/risk.asp
www.munichre.com
www.swissre.com/portal
www.doa.state.wi.us/dsas/risk/bookmeark.asp
www.iosh/gov.te

## Slide 19: 附件
Loss Control Safety Manual.pdf

## Slide 20: Loss Minimization
Inherent Safe Fab
  Reduction of Combustible Plastics
  High sensitivity detecting
Automatic Fire Protection Systems
  Bidg., Processing Tools, Exhaust Ductwork
Seismic Protection
Fluid Leakage Prevention & Control
Control of Process Hazards
  Proper Tool Usage & Arrangement
  Eliminate & Manage Ignition Sources
  Hazardous Material Handling
Emergency Response Organization
Contractor Management
Disaster Recovery Plan

## Slide 21: 實務說明一

## Slide 22: 安全規範系統
一階全公司
安全政策與手冊
二階全公司
架構性安全規範
PM
SPEC.
SOP
Installation
重點查核表
安全與風險
管理系統
安全查核/稽核
簽核
(Sign-off)
量化
指標化
強化/改善
修正/更正
Plan-Do-Check-Action
Monitoring/Audit
General Fire Protection HPM-Gas
Seismic Protection HPM-Liquid
Construction Process Tools Safety

## Slide 23: 系統的建立與推展架構
  消防系統
  空調系統
  氣化系統
  排氣系統
  電力系統
  製程設備
  其它
安全基準
重點查核表
Risk Profile
特殊風險評核表
SiH4 Room
Solvent Room …等
Wet Bench
完成建立
試用與修正
納入系統
安全查核/稽核
簽核
(Sign-off)
安全與風險
管理系統
(Data-Mart)
Safety Handbook
Technical Handbook
KM

## Slide 24: 實務說明二

## Slide 25: Risk Mapping

## Slide 26: Risk Phases

## Slide 27: 風險評析資料庫系統
風險剖析
資料
廠區OSHAS
風險評估
風險評估
建立風險
管理指標
效益化
風險管理
/控制策略
保險稽核活動
風險說明會
風險鑑認
風險評估
風險控制/損失防阻
基準化-標準化-效益化
風險管理系統
GESH資料庫
緊急應變資料庫
KM知識庫
選定風險
評估重點
USER自評
內部稽核
外部稽核
訂定風險查核表
風險頻率與嚴重性
資料
資訊/知識
知識管理

## Slide 28: 潛在風險評估
事故機率指標*嚴重度指標=風險指數
OSHAS SYSTEM
防護緩衝指標*嚴重度指標=衝擊指數
CUSHION SYSTEM

## Slide 29: Silane Room Checklist

## Slide 30: 風險鑑認剖析平面
100
50
10
5
0
3 6 9 12 15 18 20
嚴
重
度
機率指標 + 衝擊指標
high risk
low risk
VOC
Gas Cylinder
SiH4 Dispensing
SiH4 Storage
Solvent Storage
Solvent Dispensing

## Slide 31: 標準化與一致化
60
70
80
90
100
SiH4 Storage
SiH4 Dispensing
Solvent Dispensing
Solvent Storage
VOC
GC
Site H
Site L
Average

## Slide 32: 實務說明三

## Slide 33: Budget Plan

## Slide 34: Break Down of the Budget

## Slide 35: Risk Accumulation

## Slide 36: Risk Control-reschedule

## Slide 37: Risk Control-reduce the install period

## Slide 38: Risk Control Model
高風險期
完成安裝機台累計價值
進廠機台累計價值
安裝中機台價值
風險轉移期
建制期